## Genetics Facility - DNA Sequencing Sample Submission Form (Internal)

| ### Contact Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Requester: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Email |  |  |  |  | Phone |  |  |  |  |
| Supervisor: |  |  |  |  |  |  |  | Submission date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ### Sample Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample Type |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | PCR Product |  |  |  |  |  |  |  | Plasmid |  |  |  |  |  |  |  |  | Other: |  |  |  |  |  |  |  |  |
| Cleanup method: |  |  |  |  |  |  |  |  |  | Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Primer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | T7 |  |  |  |  |  |  |  | M13 Forward (-20) |  |  |  |  |  |  |  |  | M13 (-47) |  |  |  |  |  |  |  |  |
|  | T7 Terminator |  |  |  |  |  |  |  | M13 Reverse |  |  |  |  |  |  |  |  | SP6 |  |  |  |  |  |  |  |  |
|  | Other: |  |  |  |  |  | Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

### Submission Guidelines

| Templates should be cleaned and then resuspended in 10 mM Tris (pH 8.0) or water. No EDTA. Each reaction requires the shown amounts of DNA template in a volume of 10 µL (see right). To use a primer not supplied by the facility, submit at least 4 µL per reaction at 5 µM. Please provide the information in the table below (or attach a similar spreadsheet). Deliver the samples and this form to room 4-414. Template | Quantity |
| --- | --- |
| PCR product: |  |
| 100-200 bp | 2-6 ng |
| 200-500 bp | 6-20 ng |
| 500-1000 bp | 10-40 ng |
| 1000-2000 bp | 20-80 ng |
| >2000 bp | 40-100 ng |
| ssDNA | 50-100 ng |
| dsDNA (plasmid) | 300-600 ng |
| Cosmid, BAC | 1.0-2.0 μg |
| Bacterial genomic DNA | 4-6 μg |

Genetics Facility Hours:

Tuesdays 9:00-4:30, Wednesdays 9:00-4:30, Thursdays 9:00-1:00

For current pricing and other inquiries, contact Caitlin Pitt by phone (250-960-5572) or email (Caitlin.Pitt@unbc.ca).

| Sample name | Concentration (ng/µL) | Primer | Template/insert size | Plasmid size (if applicable) |
| --- | --- | --- | --- | --- |